## 14pulser-drop
#Date | 2025-07-30
#Station | 14
#antenna setup | TX z-scan in spare hole at 14 for trigger studies
#measurement | pulsing via IGLU-cal system, depth measurement from top of deployment shack guide to top of Vpol frame
#Scope ch1
#Scope ch3
#VNA setup
#folder name
#hole A offset from top of hole [m] | didn't accurately measure distance from top of shack guide to plywood hole cover left in 2024 season. Estimate 1.0-1.2m. Depths below do not have this subtracted
#hole A offset from top of hole [m]
#hole A
#hole B
#
#time [local] | depth [m] | log
0:00 | 84.55 | start depth
9:30 |  | approximate arrival at site (amps off)
10:04 | 84.55 | start run
10:40 | 84.55 | stop run
10:46 | 82.44 | new depth
11:15 | 82.44 | stop run
11:19 | 80.56 | new depth
11:47 | 80.56 | stop run
11:52 | 78.52 | new depth
12:19 | 78.52 | stop run
12:22 | 76.54 | new depth
12:55 | 76.54 | stop run
12:58 | 74.54 | new depth
13:31 | 74.54 | stop run
13:33 | 72.53 | new depth
14:01 | 72.53 | stop run
14:04 | 70.54 | new depth
14:33 | 70.54 | stop run
14:35 | 68.54 | new depth
15:04 | 68.54 | stop run
15:06 | 66.55 | new depth
15:34 | 66.55 | stop run
15:36 | 64.52 | new depth
16:05 | 64.52 | stop run
16:07 | 62.53 | new depth
16:36 | 62.53 | stop run
16:38 | 60.53 | new depth
17:00 |  | approximate departure from site (amps off)
| 60.53 | run at this depth taken in the evening, while off site

## 080125A
#Date | 2025-08-01
#Station | 25
#antenna setup | fixed RX [hole B], dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX
#Scope ch3 | RX
#VNA setup
#folder name | fixedRXinNEhole_dropTXinShole_ST25_pulser
#hole A offset from top of hole [m] | 0.81
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
10.1 | 10.05 | SRF_TX48
11.04 | 10.05 | SRF_TX49
11.99 | 10.05 | SRF_TX50
13.04 | 10.05 | SRF_TX51
14.06 | 10.05 | SRF_TX52
15.02 | 10.05 | SRF_TX53
16.04 | 10.05 | SRF_TX54
17.05 | 10.05 | SRF_TX55
18.04 | 10.05 | SRF_TX56
19.05 | 10.05 | SRF_TX57
20.09 | 10.05 | SRF_TX58
21.04 | 10.05 | SRF_TX59
22.07 | 10.05 | SRF_TX60
23.07 | 10.05 | SRF_TX61
24.04 | 10.05 | SRF_TX62
25.07 | 10.05 | SRF_TX64
26.08 | 10.05 | SRF_TX65
27.05 | 10.05 | SRF_TX67
28.04 | 10.05 | SRF_TX68
29.06 | 10.05 | SRF_TX69
30.08 | 10.05 | SRF_TX70
31.03 | 10.05 | SRF_TX71
32.04 | 10.05 | SRF_TX72
33.06 | 10.05 | SRF_TX73
34.06 | 10.05 | SRF_TX74
35.04 | 10.05 | SRF_TX75
36.06 | 10.05 | SRF_TX76
37.06 | 10.05 | SRF_TX77
38.03 | 10.05 | SRF_TX78

## 080125B
#Date | 2025-08-01
#Station | 25
#antenna setup | co-dropping RX [hole B], co-dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinNEhole_dropTXinShole_ST25_pulser
#hole A offset from top of hole [m] | 0.81
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
38.04 | 38.05 | SRF_TX80 | SRF_TX79
37.05 | 37.01 | SRF_TX82 | SRF_TX81
36.02 | 36 | SRF_TX83
35.04 | 35 | SRF_TX85 | SRF_TX84
34.04 | 34.01 | SRF_TX87 | SRF_TX86
33.02 | 33.01 | SRF_TX88
32.05 | 32.01 | SRF_TX89
31.03 | 31.03 | SRF_TX90
30.01 | 30 | SRF_TX91
29.01 | 29.01 | SRF_TX92
28.02 | 28.01 | SRF_TX93
27.02 | 27.02 | SRF_TX94
26.01 | 26.02 | SRF_TX95
25.02 | 25 | SRF_TX96
24.05 | 24.02 | SRF_TX98 | SRF_TX97
23.02 | 23.02 | SRF_T100 | SRF_TX99
22.03 | 22.02 | SRF_T101
21.01 | 21.02 | SRF_T102
20.01 | 20.01 | SRF_T103
19.04 | 19.02 | SRF_T104
18.01 | 18 | SRF_T105
17.02 | 17 | SRF_T106
16 | 16 | SRF_T107
15.01 | 15.01 | SRF_T108
14.02 | 14.02 | SRF_T109
13.01 | 13.04 | SRF_T110
12.01 | 12.03 | SRF_T111
11.02 | 11 | SRF_T112
10.03 | 10 | SRF_T113
9.01 | 9 | SRF_T114
8.04 | 8.02 | SRF_T115
7.02 | 7.03 | SRF_T116
6.02 | 6.01 | SRF_T117
5.01 | 5.01 | SRF_T118
4.01 | 4.02 | SRF_T119
3.01 | 3 | SRF_T120
2 | 2.02 | SRF_T121

## 080125-cable-TDR-cal
#Date | 2025-08-01
#Station | 25
#antenna setup
#measurement | pulsing, absolute timing, calibration of cables via reflectrometry
#Scope ch1 | Tee'd output of pulser to hole A or hole B
#Scope ch3 | n/a
#VNA setup
#folder name | cableTDR
#hole A offset from top of hole [m] | n/a
#hole A offset from top of hole [m] | n/a
#hole A | south hole
#hole B | NE hole
#
#cable run |  | filename [.csv] | note
cable run to antenna A |  | SRF_TX45 | most cable out of hole
cable run to antenna B |  | SRF_TX46 | most cable out of hole
cable run to antenna A |  | SRF_T122 | most cable out of hole
cable run to antenna B |  | SRF_T121 | most cable out of hole

## 080225A
#Date | 2025-08-02
#Station | 25
#antenna setup | fixed RX [hole B], dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging increased to 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | fixedRXinNEhole_dropTXinShole_ST25_pulser
#hole A offset from top of hole [m] | 0.81
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
53.03 | 15 | SRF_T01
53.04 | 15 | SRF_T02
52.04 | 15 | SRF_T03
51 | 15 | SRF_T04
50 | 15 | SRF_T06 | SRF_T05
49 | 15 | SRF_T07
48 | 15 | SRF_T08
47.02 | 15 | SRF_T09
46.01 | 15 | SRF_T10
45 | 15 | SRF_T12 | SRF_T11
44.02 | 15 | SRF_T13
43.03 | 15 | SRF_T14
42.02 | 15 | SRF_T15
41.02 | 15 | SRF_T16
40.02 | 15 | SRF_T17
39.02 | 15 | SRF_T18
38.04 | 15 | SRF_T19
37.02 | 15 | SRF_T20
36.02 | 15 | SRF_T21
35.01 | 15 | SRF_T22
34.01 | 15 | SRF_T23
33.04 | 15 | SRF_T24
32 | 15 | SRF_T25
31.02 | 15 | SRF_T26
30.02 | 15 | SRF_T27
29.04 | 15 | SRF_T28
28 | 15 | SRF_T29
27.01 | 15 | SRF_T30
26.03 | 15 | SRF_T31
25 | 15 | SRF_T32
24 | 15 | SRF_T33
23.01 | 15 | SRF_T34
22.01 | 15 | SRF_T35
21 | 15 | SRF_T36
20.01 | 15 | SRF_T37
19.02 | 15 | SRF_T38
18.01 | 15 | SRF_T39
17.03 | 15 | SRF_T40
16.03 | 15 | SRF_T41
15.03 | 15 | SRF_T42
14 | 15 | SRF_T43
13.01 | 15 | SRF_T44
12.01 | 15 | SRF_T45
11.01 | 15 | SRF_T46
10 | 15 | SRF_T47
9 | 15 | SRF_T48
8 | 15 | SRF_T49
7 | 15 | SRF_T50
6.02 | 15 | SRF_T51
5.06 | 15 | SRF_T52

## 080225B
#Date | 2025-08-02
#Station | 25
#antenna setup | fixed/co-dropping RX [hole B], dropping Tx [hole A]
#measurement | 2-port VNA sweep, hole B=port1, holeA=port2, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1
#Scope ch3
#VNA setup | Long (~75m) LMR400 Cables, up to antenna feed cable, included in 2-port VNA calibration. Settings: 4001 pts, 0dBm power (max)
#folder name | Port1inNEhole_Port2inShole_ST25_VNA
#hole A offset from top of hole [m] | 0.81
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.s2p] | alternate_filename
2.04 | 2.05 | aug2_2m
3.01 | 3.02 | aug2_3m
4.04 | 4.02 | aug2_4m
5.03 | 5.01 | aug2_5m
6.04 | 6.02 | aug2_6m
7.02 | 7.02 | aug2_7m
8.03 | 8.02 | aug2_8m
9.05 | 9.03 | aug2_9m
10.04 | 10 | aug2_10m
11.05 | 11.05 | aug2_11m
12.04 | 12.02 | aug2_12m
13.02 | 13.04 | aug2_13m
14 | 14.02 | aug2_14m
15.03 | 15.04 | aug2_15m
16.03 | 16.05 | aug2_16m
17.01 | 17.01 | aug2_17m
18.03 | 18.02 | aug2_18m
19.02 | 19.01 | aug2_19m
20.04 | 20 | aug2_20m
21.01 | 21 | aug2_21m
22.03 | 22.03 | aug2_22m
23 | 23.01 | aug2_23m
24.02 | 24.03 | aug2_24m
25.03 | 25.04 | aug2_25m
26.02 | 26.02 | aug2_26m
27.01 | 27.02 | aug2_27m
28 | 28.03 | aug2_28m
29 | 29.02 | aug2_29m
30.01 | 30.02 | aug2_30m
31.01 | 31.02 | aug2_31m
32.01 | 32.02 | aug2_32m
33.02 | 33.01 | aug2_33m
34.02 | 34.01 | aug2_34m
35.01 | 35.02 | aug2_35m
36.02 | 36 | aug2_36m
37.01 | 37.01 | aug2_37m
38.03 | 38.02 | aug2_38m
39.02 | 38.02 | aug2_39m
40.04 | 38.02 | aug2_40m
41.01 | 38.02 | aug2_41m
42.05 | 38.02 | aug2_42m
43.01 | 38.02 | aug2_43m
44.01 | 38.02 | aug2_44m
45.01 | 38.02 | aug2_45m
46.02 | 38.02 | aug2_46m
47.03 | 38.02 | aug2_47m
48.02 | 38.02 | aug2_48m
49.01 | 38.02 | aug2_49m
50.01 | 38.02 | aug2_50m
51.02 | 38.02 | aug2_51m
52.01 | 38.02 | aug2_52m
53 | 38.02 | aug2_53m

## 080225-cable-TDR-cal
#Date | 2025-08-02
#Station | 25
#antenna setup
#measurement | pulsing, absolute timing, calibration of cables via reflectrometry
#Scope ch1 | Coax Tee'd output of pulser to hole A or hole B
#Scope ch3 | n/a
#VNA setup
#folder name | cableTDR
#hole A offset from top of hole [m] | n/a
#hole A offset from top of hole [m] | n/a
#hole A | south hole
#hole B | NE hole
#
#cable run |  | filename [.csv] | note
cable run to antenna A |  | SRF_T53 | most cable out of hole
cable run to antenna B |  | SRF_T54 | most cable out of hole

## 080325A
#Date | 2025-08-03
#Station | 25
#antenna setup | co-dropping/raising RX [hole B], dropping/raising Tx [hole A], co-depth and staggered depth with Rx 1m higher than TX
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinNWhole_dropTXinShole_ST25_pulser
#hole A offset from top of hole [m] | 0.81
#hole A offset from top of hole [m] | 0
#hole A | south hole
#hole B | NW hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
7.03 | 6.02 | SRF_T13
7.03 | 7.01 | SRF_T14
8.03 | 7.01 | SRF_T15
8.03 | 8.01 | SRF_T16
9.02 | 8.01 | SRF_T17
9.02 | 9.02 | SRF_T18
10.01 | 9.02 | SRF_T19
10.01 | 10 | SRF_T20
11 | 10 | SRF_T21
11 | 11.02 | SRF_T22
12.02 | 11.02 | SRF_T23
12.02 | 12.01 | SRF_T24
13.01 | 12.01 | SRF_T25
13.01 | 13.02 | SRF_T26
14.02 | 13.02 | SRF_T27
14.02 | 14.01 | SRF_T28
15.04 | 14.01 | SRF_T29
15.04 | 15.01 | SRF_T30
16.03 | 15.01 | SRF_T31
16.03 | 16.02 | SRF_T32
17.03 | 16.02 | SRF_T33
17.03 | 17.02 | SRF_T34
18.02 | 17.02 | SRF_T35
18.02 | 18.01 | SRF_T36
19.03 | 18.01 | SRF_T37
19.03 | 19.03 | SRF_T38
20.03 | 19.03 | SRF_T39
20.03 | 20 | SRF_T40
21.03 | 20 | SRF_T41
21.03 | 21.02 | SRF_T42
22.03 | 21.02 | SRF_T43
22.03 | 22.01 | SRF_T44
23.03 | 22.01 | SRF_T45
23.03 | 23.03 | SRF_T46
24.01 | 23.03 | SRF_T48 | SRF_T47
24.01 | 24.01 | SRF_T49
25.01 | 24.01 | SRF_T50
25.01 | 25 | SRF_T51
26.05 | 25 | SRF_T52
26.05 | 26 | SRF_T53
27.04 | 26 | SRF_T54
27.04 | 27 | SRF_T55
28.02 | 27 | SRF_T56
28.02 | 28.02 | SRF_T57
29.03 | 28.02 | SRF_T58
29.03 | 29.01 | SRF_T59
30.02 | 29.01 | SRF_T61 | SRF_T60
30.02 | 30.01 | SRF_T62
31.01 | 30.01 | SRF_T63
31.01 | 31 | SRF_T64
32.01 | 31 | SRF_T65
32.01 | 32.01 | SRF_T66
33.04 | 32.01 | SRF_T67
33.04 | 33.01 | SRF_T68
34.02 | 33.01 | SRF_T69
34.02 | 34.03 | SRF_T70
35.01 | 34.03 | SRF_T71
35.01 | 35.03 | SRF_T72
36.02 | 35.03 | SRF_T73
36.02 | 36 | SRF_T74
37.01 | 36 | SRF_T75
37.01 | 37 | SRF_T77 | SRF_T76
38.02 | 37 | SRF_T79 | SRF_T78
38.02 | 38.01 | SRF_T80
38.03 | 38.01 | SRF_T83
37.05 | 37.02 | SRF_T84
36.04 | 36 | SRF_T85
35.03 | 35.02 | SRF_T86
34.03 | 34.01 | SRF_T87
33.03 | 33 | SRF_T88
32.05 | 32 | SRF_T89
31.03 | 31 | SRF_T90
30 | 30.01 | SRF_T91
29.01 | 29.02 | SRF_T92
28.01 | 28.01 | SRF_T93
27.03 | 27.01 | SRF_T94
26.02 | 26 | SRF_T95
24.99 | 25 | SRF_T96
24.01 | 24 | SRF_T97
23.02 | 23.01 | SRF_T99 | SRF_T98
22 | 22.02 | SRF_T100
21 | 21.01 | SRF_T101
20.02 | 20 | SRF_T102
19 | 19.01 | SRF_T103
18.01 | 18.01 | SRF_T104
17 | 17 | SRF_T105
16 | 16 | SRF_T106
15.01 | 15.01 | SRF_T107
14.01 | 14.01 | SRF_T108
12.99 | 13 | SRF_T109
11.99 | 12 | SRF_T110
11 | 11.02 | SRF_T111
10 | 10.01 | SRF_T112
9 | 9 | SRF_T113
8.02 | 8.01 | SRF_T114
6.99 | 7 | SRF_T115
6.01 | 6 | SRF_T116
6.01 | 5.01 | SRF_T117
5 | 5.01 | SRF_T118
5 | 4.01 | SRF_T119
4 | 4.01 | SRF_T120
4 | 3.02 | SRF_T121
3.03 | 3.02 | SRF_T122
3.03 | 2.01 | SRF_T123
1.99 | 2.01 | SRF_T124
1.99 | 1.01 | SRF_T125
0.99 | 1.01 | SRF_T126
0 | 0 | SRF_T127

## 080325-cable-TDR-cal
#Date | 2025-08-03
#Station | 25
#antenna setup
#measurement | pulsing, absolute timing, calibration of cables via reflectrometry
#Scope ch1 | Coax Tee'd output of pulser to hole A or hole B
#Scope ch3 | n/a
#VNA setup
#folder name | cableTDR
#hole A offset from top of hole [m] | n/a
#hole A offset from top of hole [m] | n/a
#hole A | south hole
#hole B | NW hole
#
#cable run |  | filename [.csv] | note
cable run to antenna A |  | SRF_T81 | most cable in the hole, taken at deepest depth
cable run to antenna B |  | SRF_T82 | most cable in the hole, taken at deepest depth
cable run to antenna A |  | SRF_T130 | most cable out of the hole, taken at end of measurement
cable run to antenna B |  | SRF_T129 | most cable out of the hole, taken at end of measurement

## 080425A
#Date | 2024-08-04
#Station | 35
#antenna setup | co-dropping RX [hole B], dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinNEhole_dropTXinShole_ST35_pulser
#hole A offset from top of hole [m] | 0.9
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
1.01 | 1.01 | SRF_T01
1.5 | 1.51 | SRF_T02
1.99 | 2.02 | SRF_T03
2.51 | 2.5 | SRF_T04
3 | 3.01 | SRF_T05
3.51 | 3.51 | SRF_T06
4.02 | 4 | SRF_T07
4.51 | 4.51 | SRF_T08
5.02 | 5.02 | SRF_T09
5.51 | 5.52 | SRF_T10
6 | 6.01 | SRF_T11
6.5 | 6.51 | SRF_T12
7 | 7.01 | SRF_T13
7.52 | 7.52 | SRF_T14
8.01 | 8 | SRF_T15
8.52 | 8.51 | SRF_T16
8.99 | 9.01 | SRF_T17
9.5 | 9.51 | SRF_T18
10.01 | 10 | SRF_T19
10.49 | 10.5 | SRF_T20
11.01 | 11.01 | SRF_T21
11.5 | 11.51 | SRF_T22
12 | 12.01 | SRF_T23
12.49 | 12.51 | SRF_T25
13.01 | 13.01 | SRF_T26
13.5 | 13.5 | SRF_T27
14 | 14 | SRF_T29
14.5 | 14.52 | SRF_T30
15 | 15 | SRF_T31
15.5 | 15.51 | SRF_T32
16 | 16.01 | SRF_T33
16.5 | 16.51 | SRF_T34
17 | 17.01 | SRF_T35
17.49 | 17.51 | SRF_T36
17.99 | 18.01 | SRF_T39
18.52 | 18.51 | SRF_T40
19.02 | 19.02 | SRF_T41
19.51 | 19.52 | SRF_T42
20 | 20 | SRF_T43
20.51 | 20.51 | SRF_T44
20.99 | 21.01 | SRF_T45
21.5 | 21.5 | SRF_T46
22.01 | 22.01 | SRF_T47
22.51 | 22.51 | SRF_T48
23.01 | 23.02 | SRF_T49
23.51 | 23.51 | SRF_T50
24 | 24 | SRF_T51
24.5 | 24.51 | SRF_T52
25.02 | 25.01 | SRF_T53
25.51 | 25.5 | SRF_T54
26.01 | 26.01 | SRF_T56
26.52 | 26.51 | SRF_T57
26.99 | 27 | SRF_T58
27.5 | 27.5 | SRF_T59
27.99 | 28 | SRF_T60
28.51 | 28.5 | SRF_T62
28.98 | 29.01 | SRF_T64
29.49 | 29.51 | SRF_T66
30.02 | 30.02 | SRF_T67
30.54 | 30.51 | SRF_T68
31 | 31.01 | SRF_T69
31.51 | 31.51 | SRF_T70
32.01 | 32.01 | SRF_T71
32.5 | 32.52 | SRF_T72
33.01 | 33 | SRF_T73
33.5 | 33.5 | SRF_T74
34.01 | 34.02 | SRF_T75
34.5 | 34.5 | SRF_T76
35.01 | 35.01 | SRF_T77
35.51 | 35.51 | SRF_T78
35.99 | 36.01 | SRF_T80
36.51 | 36.52 | SRF_T82
37.01 | 37 | SRF_T83
37.52 | 37.51 | SRF_T84
38.01 | 38.02 | SRF_T85
38.52 | 38.5 | SRF_T86
39 | 39.02 | SRF_T87

## 080425B
#Date | 2024-08-04
#Station | 35
#antenna setup | co-raising RX [hole B], raisingTx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | raiseRXinNEhole_raiseTXinShole_ST35_pulser
#hole A offset from top of hole [m] | 0.7 | Note, offset changed after RTK surveying, performed after 080425A drop, found hole A was ~20cm shorter than hole B
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
39.03 | 39 | SRF_T90
38.03 | 38 | SRF_T91
37.03 | 37.03 | SRF_T92
36 | 36.02 | SRF_T93
35.01 | 35.01 | SRF_T94
34.03 | 34.01 | SRF_T95
33.02 | 33.02 | SRF_T96
32 | 32.02 | SRF_T97
31.02 | 31.01 | SRF_T98
30.04 | 30.01 | SRF_T99
29.04 | 29 | SRF_T100
28.02 | 28.01 | SRF_T101
26.99 | 27 | SRF_T103
25.99 | 26.01 | SRF_T104
25.04 | 25 | SRF_T105
24.01 | 24.01 | SRF_T106
23.02 | 23 | SRF_T107
22.02 | 22.01 | SRF_T108
21.03 | 21.01 | SRF_T109
20.02 | 20.02 | SRF_T110
18.99 | 19.01 | SRF_T111
18.03 | 18 | SRF_T112
17.03 | 17 | SRF_T113
16.03 | 16.01 | SRF_T114
15.03 | 15.02 | SRF_T116
14.05 | 14.01 | SRF_T117
13.05 | 13.02 | SRF_T118
12.03 | 12.01 | SRF_T119
11.06 | 11.01 | SRF_T120
10.02 | 10 | SRF_T122
9.01 | 9.01 | SRF_T123
7.99 | 8.01 | SRF_T124
7 | 7.02 | SRF_T125
6.02 | 6.01 | SRF_T128 | SRF_T126
5 | 5.01 | SRF_T129
4.03 | 4 | SRF_T130
3.04 | 3.01 | SRF_T131
2.01 | 2.01 | SRF_T132
1.01 | 1.01 | SRF_T133
0.02 | 0 | SRF_T134

## 080425D
#Date | 2024-08-04
#Station | 35
#antenna setup | co-dropping RX [hole B], droppingTx [hole A] w/ HPOL-HPOL pulsing
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Hpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinNEhole_dropTXinShole_ST35_pulser_HPOL
#hole A offset from top of hole [m] | 0.7 | Note, offset changed after RTK surveying, performed after 080425A drop, found hole A was ~20cm shorter than hole B
#hole A offset from top of hole [m] | 36
#hole A | south hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
3.01 | 3.02 | SRF_T174
4.02 | 4 | SRF_T176
5.01 | 5.01 | SRF_T177
6.03 | 6.01 | SRF_T178
7 | 7.01 | SRF_T179
8.05 | 8.01 | SRF_T180
9.03 | 9.01 | SRF_T181
10 | 10 | SRF_T182
11.03 | 11.01 | SRF_T183
12.02 | 12 | SRF_T184
13.02 | 13.02 | SRF_T185
14.02 | 14 | SRF_T186
15.01 | 15 | SRF_T187
16.02 | 16.01 | SRF_T188
17 | 17.01 | SRF_T189
18.03 | 18.01 | SRF_T191
19.03 | 19.02 | SRF_T192
20.02 | 20 | SRF_T193
21 | 21.01 | SRF_T194
22.02 | 22.01 | SRF_T195
23.01 | 23.01 | SRF_T196
24.01 | 24.01 | SRF_T197
25 | 25.01 | SRF_T198
26.03 | 26.01 | SRF_T199
27.01 | 27 | SRF_T200
28 | 28.01 | SRF_T201
29.02 | 29.01 | SRF_T202
30.05 | 30.01 | SRF_T203
31.01 | 31 | SRF_T204
32.02 | 32 | SRF_T205
33 | 33.01 | SRF_T206
34.02 | 34 | SRF_T207
35.01 | 35 | SRF_T208
36.03 | 36 | SRF_T209
37.01 | 37 | SRF_T210
38.01 | 38.01 | SRF_T211
39.02 | 39.02 | SRF_T213

## 080425-cable-TDR-cal
#Date | 2025-08-04
#Station | 35
#antenna setup
#measurement | pulsing, absolute timing, calibration of cables via reflectrometry
#Scope ch1 | Coax Tee'd output of pulser over cable run to hole A or hole B
#Scope ch3 | n/a
#VNA setup
#folder name | cableTDR
#hole A offset from top of hole [m] | n/a
#hole A offset from top of hole [m] | n/a
#hole A | south hole
#hole B | NE hole
#
#cable run |  | filename [.csv] | note
cable run to antenna A |  | SRF_T89 | most cable in the hole, taken with VPOL antenna attached
cable run to antenna B |  | SRF_T88 | most cable in the hole, taken with VPOL antenna attached
cable run to antenna A |  | SRF_T215 | most cable in the hole, taken with HPOL antenna attached
cable run to antenna B |  | SRF_T214 | most cable in the hole, taken with HPOL antenna attached

## 080525C
#Date | 2024-08-05
#Station | 35
#antenna setup | co-raising RX [hole B], co-raising Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinNWhole_dropTXinShole_ST35_pulser
#hole A offset from top of hole [m] | 0.5 | estimated via RTK altitude survey of S and NW holes
#hole A offset from top of hole [m] | 0
#hole A | south hole
#hole B | NW hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
38.03 | 38 | SRF_T01
37.04 | 37 | SRF_T02
36.02 | 36.02 | SRF_T03
35.02 | 35.02 | SRF_T04
34.05 | 34.01 | SRF_T05
33.044 | 33.01 | SRF_T06
32.01 | 32.01 | SRF_T07
30.99 | 31.01 | SRF_T08
30.01 | 30 | SRF_T09
29 | 29.01 | SRF_T10
28 | 28.01 | SRF_T11
27.02 | 27.02 | SRF_T12
26 | 26 | SRF_T13
25 | 25.01 | SRF_T15
24.01 | 24 | SRF_T16
23.01 | 23 | SRF_T17
22 | 22.01 | SRF_T18
21.01 | 21.01 | SRF_T19
19.97 | 20 | SRF_T20
19 | 19 | SRF_T21
18.02 | 18.01 | SRF_T22
17.01 | 17 | SRF_T24
16 | 16 | SRF_T25
15 | 15 | SRF_T26
14 | 14.01 | SRF_T27
13.01 | 13 | SRF_T28
12 | 12.01 | SRF_T29
10.99 | 11.01 | SRF_T30
10.02 | 10.01 | SRF_T31
8.99 | 9.01 | SRF_T32
7.99 | 8 | SRF_T33
7.01 | 7 | SRF_T34
6.02 | 6.01 | SRF_T35
5 | 5.02 | SRF_T36
4 | 4.01 | SRF_T38
3.01 | 3.01 | SRF_T40 | SRF_T39
2.02 | 2 | SRF_T41
1.02 | 1.01 | SRF_T42

## 080525-cable-TDR-cal
#Date | 2025-08-05
#Station | 35
#antenna setup
#measurement | pulsing, absolute timing, calibration of cables via reflectrometry
#Scope ch1 | Coax Tee'd output of pulser over cable run to hole A or hole B, scope pulse reference short jumper cable
#Scope ch3 | n/a
#VNA setup
#folder name | cableTDR
#hole A offset from top of hole [m] | n/a
#hole A offset from top of hole [m] | n/a
#hole A
#hole B
#
#cable run |  | filename [.csv] | note
cable run to antenna A |  | SRF_T46 | most cable out of the hole
cable run to antenna B |  | SRF_T47 | most cable out of the hole
extra cable jumper to scope, coupled pulser output |  | SRF_T48 | needed to null out extra delay in pulser T0 trigger reference

## 080625A
#Date | 2024-08-06
#Station | 34
#antenna setup | co-dropping RX [hole B], co-dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinShole_dropTXinNWhole_ST34_pulser
#hole A offset from top of hole [m] | 0.9 | estimated via RTK altitude survey of S and NW holes (0.94 specificialy, but 0.90 was subtracted in the depths here)
#hole A offset from top of hole [m] | 0
#hole A | NW hole
#hole B | south hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
1 | 1 | SRF_T01
1.99 | 2.01 | SRF_T02
3.04 | 3 | SRF_T03
4.03 | 4.01 | SRF_T04
5.01 | 5.02 | SRF_T05
6.04 | 6.01 | SRF_T06
7.02 | 7.01 | SRF_T07
8.03 | 8 | SRF_T08
9 | 9.02 | SRF_T09
10.02 | 10.01 | SRF_T10
11.03 | 11.01 | SRF_T11
12.04 | 12.02 | SRF_T12
13.04 | 13.02 | SRF_T13
14.02 | 14.02 | SRF_T14
15.03 | 15.01 | SRF_T15
16.04 | 16.01 | SRF_T16
17.01 | 17.02 | SRF_T17
18.03 | 18.02 | SRF_T18
19.03 | 19 | SRF_T19
20.04 | 20 | SRF_T20
21.02 | 21 | SRF_T21
22.03 | 22.01 | SRF_T22
23.03 | 23.01 | SRF_T23
24.03 | 24.01 | SRF_T24
25.02 | 25.02 | SRF_T25
26.04 | 26.01 | SRF_T26
27.02 | 27.02 | SRF_T27
28.03 | 28.03 | SRF_T28
29.04 | 29.02 | SRF_T29
30.03 | 30 | SRF_T30
31.04 | 31 | SRF_T31
32.04 | 32.01 | SRF_T32
33.03 | 33.02 | SRF_T33
34.03 | 34.01 | SRF_T34
35.03 | 35 | SRF_T35
36.04 | 36 | SRF_T36
37.03 | 37.02 | SRF_T37
37.05 | 37 | SRF_T38
38.04 | 38.01 | SRF_T39
39.02 | 39 | SRF_T40
40.04 | 40 | SRF_T41
41.05 | 41.02 | SRF_T43
42.02 | 42.01 | SRF_T44
43.04 | 43 | SRF_T45
44.04 | 44 | SRF_T46
45.02 | 45.02 | SRF_T47
46.03 | 46.01 | SRF_T48
47.05 | 47 | SRF_T49
48.05 | 48.02 | SRF_T50
49.05 | 49.02 | SRF_T50
50.05 | 50 | SRF_T52
51.02 | 51.01 | SRF_T53
52.01 | 52 | SRF_T54
53.03 | 53 | SRF_T55
54.04 | 54 | SRF_T56
55.05 | 55.02 | SRF_T57
56.04 | 56.01 | SRF_T58
57.04 | 57.02 | SRF_T59
58.04 | 58 | SRF_T60
59.01 | 59.02 | SRF_T60
60.02 | 60.02 | SRF_T62
61.04 | 61.01 | SRF_T63
62.05 | 62.01 | SRF_T64
63.03 | 63 | SRF_T65
64.04 | 64.03 | SRF_T66
65.02 | 65.02 | SRF_T67
66.04 | 66 | SRF_T68
67.03 | 67 | SRF_T69
68.05 | 68.02 | SRF_T70
69.01 | 69.03 | SRF_T71
70.04 | 70.01 | SRF_T72

## 080625B
#Date | 2024-08-06
#Station | 34
#antenna setup | fixed RX [hole B], dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | fixedRXinShole_dropTXinNWhole_ST34_pulser
#hole A offset from top of hole [m] | 0.9 | estimated via RTK altitude survey of S and NW holes (0.94 specificialy, but 0.90 was subtracted in the depths here)
#hole A offset from top of hole [m] | 0
#hole A | NW hole
#hole B | south hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
70.05 | 14.99 | SRF_T75
69.04 | 14.99 | SRF_T76
68.03 | 14.99 | SRF_T77
67.02 | 14.99 | SRF_T78
66.02 | 14.99 | SRF_T79
65.02 | 14.99 | SRF_T80
64.02 | 14.99 | SRF_T81
63.01 | 14.99 | SRF_T82
62.01 | 14.99 | SRF_T83
61.02 | 14.99 | SRF_T84
60.02 | 14.99 | SRF_T85
59.02 | 14.99 | SRF_T86
58.04 | 14.99 | SRF_T88
57.03 | 14.99 | SRF_T89
56.01 | 14.99 | SRF_T90
55.03 | 14.99 | SRF_T91
54.02 | 14.99 | SRF_T92
53 | 14.99 | SRF_T93
52.02 | 14.99 | SRF_T94
51.01 | 14.99 | SRF_T95
50.03 | 14.99 | SRF_T96
49.03 | 14.99 | SRF_T97
48.03 | 14.99 | SRF_T98
47.02 | 14.99 | SRF_T99
46.04 | 14.99 | SRF_T100
45.02 | 14.99 | SRF_T101
44.02 | 14.99 | SRF_T102
43.01 | 14.99 | SRF_T103
42.01 | 14.99 | SRF_T104
41.03 | 14.99 | SRF_T105
40.02 | 14.99 | SRF_T106
39.05 | 14.99 | SRF_T107
38.03 | 14.99 | SRF_T108
37.01 | 14.99 | SRF_T109
36.03 | 14.99 | SRF_T110
35.02 | 14.99 | SRF_T111
34.03 | 14.99 | SRF_T112
33.03 | 14.99 | SRF_T113
32.02 | 14.99 | SRF_T114
31.05 | 14.99 | SRF_T115
30.02 | 14.99 | SRF_T116
29.02 | 14.99 | SRF_T117
28.03 | 14.99 | SRF_T118
27.02 | 14.99 | SRF_T119
26.03 | 14.99 | SRF_T120
25.02 | 14.99 | SRF_T121
24.03 | 14.99 | SRF_T122
23.02 | 14.99 | SRF_T123
22.02 | 14.99 | SRF_T124
21.03 | 14.99 | SRF_T125
20.03 | 14.99 | SRF_T126
19.03 | 14.99 | SRF_T127
18 | 14.99 | SRF_T128
17.03 | 14.99 | SRF_T129
16.01 | 14.99 | SRF_T130
15.04 | 14.99 | SRF_T131
14.01 | 14.99 | SRF_T132
13.02 | 14.99 | SRF_T133
12.03 | 14.99 | SRF_T134
11.02 | 14.99 | SRF_T135
10.02 | 14.99 | SRF_T136
9.01 | 14.99 | SRF_T137
8.02 | 14.99 | SRF_T138
7.03 | 14.99 | SRF_T139
6.03 | 14.99 | SRF_T140
5.02 | 14.99 | SRF_T141

## 080725A
#Date | 2024-08-07
#Station | 34
#antenna setup | co-dropping RX [hole B], co-dropping Tx [hole A]
#measurement | pulsing, absolute timing, depth measurement from top of hole (plywood cover removed) to top of Vpol frame
#Scope ch1 | 20dB coupled input pulse to TX, scope averaging 1000 waveforms during measurement
#Scope ch3 | RX
#VNA setup
#folder name | dropRXinNEhole_dropTXinNWhole_ST34_pulser
#hole A offset from top of hole [m] | 0.9 | estimated via RTK altitude survey of S and NW holes (0.94 specificialy, but 0.90 was subtracted in the depths here)
#hole A offset from top of hole [m] | 0
#hole A | NW hole
#hole B | NE hole
#
#hole A [m] | hole B [m] | filename [.csv] | alternate_filename
1.03 | 1.01 | SRF_T01
2.02 | 2.01 | SRF_T02
3.02 | 3.01 | SRF_T04
4.02 | 4.01 | SRF_T05
5 | 5 | SRF_T06
6.02 | 6 | SRF_T07
7.03 | 7 | SRF_T08
8.03 | 8 | SRF_T09
9.01 | 9 | SRF_T10
10.01 | 10.01 | SRF_T11
11.3 | 11 | SRF_T12
12.01 | 12.01 | SRF_T13
13.02 | 13.01 | SRF_T14
14.02 | 15.01 | SRF_T15
15.03 | 15.03 | SRF_T16
16.02 | 16 | SRF_T17
17.02 | 17.01 | SRF_T19
18.02 | 18.01 | SRF_T20
19.03 | 19 | SRF_T21
20.03 | 20.01 | SRF_T23
21.03 | 21.01 | SRF_T24
22.04 | 22.02 | SRF_T26
23.03 | 23.01 | SRF_T27
24 | 24 | SRF_T28
25.02 | 25.01 | SRF_T29
26.01 | 26 | SRF_T30
27.03 | 27 | SRF_T31
28.02 | 28.01 | SRF_T32
29.02 | 29.02 | SRF_T33
30.02 | 30.01 | SRF_T34
31.02 | 31.01 | SRF_T35
32.01 | 32 | SRF_T36
33.03 | 33 | SRF_T38
34.04 | 34.02 | SRF_T39
35.02 | 35.02 | SRF_T40
36.03 | 36 | SRF_T41
37.03 | 37.01 | SRF_T42
38.01 | 38.03 | SRF_T44
39.02 | 39 | SRF_T45
40.02 | 40.01 | SRF_T46
41.05 | 41.02 | SRF_T47
42.03 | 42.02 | SRF_T48
43.04 | 43.02 | SRF_T49
44 | 44.01 | SRF_T50
45.03 | 45.01 | SRF_T51
45.04 | 45 | SRF_T54
46.03 | 46.01 | SRF_T55
47.06 | 47.02 | SRF_T56
48.04 | 48 | SRF_T57
49.03 | 49.01 | SRF_T58
50 | 50 | SRF_T59
51.03 | 51.02 | SRF_T60
52.01 | 52.01 | SRF_T61
53.02 | 53 | SRF_T62
54.04 | 54.01 | SRF_T63
55.03 | 55.01 | SRF_T64
56.03 | 56 | SRF_T65
57.03 | 57.01 | SRF_T66
58.04 | 58 | SRF_T67
59.02 | 59.01 | SRF_T68
60.05 | 60 | SRF_T70
61.01 | 61 | SRF_T71
62.04 | 62 | SRF_T72
63.03 | 63 | SRF_T73
64.02 | 64 | SRF_T74
65.05 | 65.01 | SRF_T75
66 | 66 | SRF_T76
67.03 | 67.02 | SRF_T78
68.02 | 68.04 | SRF_T80
69 | 69.01 | SRF_T82
70.03 | 70.01 | SRF_T83
71.04 | 71.01 | SRF_T84
72.04 | 72 | SRF_T85
73.01 | 73.01 | SRF_T87
74.02 | 74 | SRF_T88
75.01 | 75.01 | SRF_T89
76.03 | 76.01 | SRF_T90
77.04 | 77.05 | SRF_T91
78.02 | 78 | SRF_T92
79.01 | 79 | SRF_T93
80.01 | 80 | SRF_T94
81 | 81.01 | SRF_T95
82.01 | 82 | SRF_T96
83.01 | 83.02 | SRF_T100
84.05 | 84 | SRF_T104
85 | 85.01 | SRF_T107
86.03 | 86.03 | SRF_T108
87 | 87 | SRF_T110
88.01 | 88 | SRF_T111
89.05 | 89.01 | SRF_T112
90.02 | 90 | SRF_T113